| Task: Making up samples in Dichloromethane |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Hazard Symbols/ Warning signs: Dichloromethane: WARNING Sample: unknown |  |  |  |  |  |
| Risk phrases/Hazard statements: Dichloromethane: R40 (Limited evidence of a carcinogenic effect.) Sample: unknown |  |  |  |  |  |
| Risks/Potential outcomes: Potential for sample to come into contact with skin or be inhaled Potential for splashes while filling sample vial Potential for inhalation of vapours while filling sample vial |  |  |  |  | Routes of exposure: Skin and lungs Skin Lungs |
| No. of persons exposed to hazards: |  | Frequency of use: |  |  |  |
| Severity: | Likelihood: |  |  | Risk rating |  |
| Safety phrases/Precautionary statements: Dichloromethane: S23 Do not breathe gas/fumes/vapour/spray. S24/25 Avoid contact with skin and eyes. S36/37 Wear suitable protective clothing and gloves. |  |  |  |  |  |
| Control measures: User trained Very small volumes of sample and solvent used Lab coat, safety glasses and nitrile gloves worn at all times (nitrile gloves only protect for small splashes and will be removed immediately afterwards) |  |  |  |  |  |
| Emergency measures: Fire extinguisher available Evacuate lab |  |  |  |  |  |
| First aid measures: Rinse splashes under tap Irrigate eyes with eye wash First aid kit available |  |  |  |  |  |
| Waste disposal considerations: |  |  |  |  |  |
| Location of relevant SDS: |  |  |  |  |  |
| Signature: |  |  | Date: |  |  |
| Recommended further control measures: |  |  |  |  |  |