| Task: Use of liquid nitrogen |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Hazard Symbols/ Warning signs: |  |  |  |  |  |
| Risk phrases/Hazard statements: H281 Contains refrigerated gas; may cause cryogenic burns or injury. EIGA-As Asphyxiant in high concentrations. |  |  |  |  |  |
| Risks/Potential outcomes: Asphixiation Burns from cold surfaces |  |  |  |  | Routes of exposure: Lungs Skin |
| No. of persons exposed to hazards: |  | Frequency of use: |  |  |  |
| Severity: | Likelihood: |  |  | Risk rating |  |
| Safety phrases/Precautionary statements: P282 Wear cold insulating gloves/face shield/eye protection. P336+P315 Thaw frosted parts with lukewarm water. Do not rub affected area. Get immediate medical advice/attention. P403 Store in a well-ventilated place. |  |  |  |  |  |
| Control measures: |  |  |  |  |  |
| Emergency measures: Evacuate lab |  |  |  |  |  |
| First aid measures: First aid kit available |  |  |  |  |  |
| Waste disposal considerations: |  |  |  |  |  |
| Location of relevant SDS: |  |  |  |  |  |
| Signature: |  |  | Date: |  |  |
| Recommended further control measures: |  |  |  |  |  |
| Review date: |  |  |  |  |  |